## Sheet1
PTE Masters High Yield
HY# | Time | Subject | pdf
1 | 0:00 | Exam Tips
| 10:00 | Resolution | Resolution
| 12:05 | Vp Mode Color
| 13:38 | Case AV Canal
| 15:57 | Lambl's Excursence
2A | 0:00 | Case Diastolic fx | Transducer v5,7.001
| 3:46 | TDI | Pulm vien PWD
| 7:45 | Tricuspid leaflets | TB resolution
| 8:28 | Systolic Fx load dependent | Adv Diastolic fx
| 14:45 | Strain Rate | Diastolic fx guidelines update
| 17:53 | Speckle Tracking
| 19:45 | 3D EF
| 20:50 | Case Papillary Fibroelastoma
2B | 0:00 | Mitral Anatomy 3D MR
| 7:30 | Transducers Q factor
2C | 0:00 | Diastolic fx LAP,S/D,e',LV volume,TR | Diastolic fx basic and adv
3 | 0:00 | TDI,strain,Adv systolic fx | Diastolic fx guidelines
| 1:22 | Case Pulmonary stenosis,RVSP
| 7:18 | Case VSD,LV septal aneurysm
| 9:25 | Case ID structures Tricuspid leaflets
| 10:19 | Case PE McConnell's sign
| 12:09 | Case ASD
| 13:28 | Case Atrial septal anuerysm
| 15:30 | Case ASD Sinus Venous
| 17:57 | Case CS Thebesian Valve
| 19:03 | Case ASD Primum Cleft Mitral Valve
| 20:29 | ASD Ostium Secundum
4 | 0:00 | TOF,VSD
| 4:05 | Case TOF,PFO
| 7:16 | Doppler
| 7:47 | HOCM wall spared Basl Inf lateral
| 9:45 | Amyloidosis
| 10:32 | Bioeffects of Ultrasound
| 11:42 | LVAD
| 13:12 | Case Chiari Network vs Eustachian Valve
5 | 0:00 | Wall segments
| 1:06 | Bubble study
| 2:22 | Variance Map vs Velocity Map
| 4:31 | L to R shunt
| 5:29 | Imaging transducers QF Characterics
| 9:15 | Lateral vs elevational point where ae they equal? Narrow point
| 9:49 | Bileaflet Prothestic valve
| 10:35 | Bubble valsalva
| 11:36 | Epstein's Anomaly
| 13:18 | TG Basal SAX
| 13:59 | PE
| 15:19 | Hepatic Venous flow with pulmonary hypertension
6 | 0:00 | Duty Factor Pulse Duration PRF
| 3:13 | Imaging Depth
| 7:13 | Persistent L Superior vena Cava
| 8:00 | PW freq of emitted beam deteremined by
| 8:59 | ID Circumflex Artery
| 10:47 | TDI RV
| 12:54 | ID ASD Ostium Secundum
| 16:39 | LVOT outflow VTI
| 17:42 | Velocity Map
| 18:16 | Peak E wave Velocity
| 19:56 | Vp ID 4 cm
7 | 0:00 | Transducer Backing Material
| 3:30 | decreased freq increase pentration worse axial resolution decreased focal length
| 5:40 | Velocity index aortic stenosis
| 11:17 | acceleration time decrease spatial pulse length decrease
| 12:06 | MR SAM
| 19:40 | decreased beam width
| 20:08 | Best resolution ALE axial latereal elevation
| 22:47 | Define PRP,PRF,freq,period,wavelength,amp,power,Intensity
| 32:43 | PRP
| 33:06 | CW determined by
8 | 0:00 | Physics annular focusing
| 1:26 | Raleigh wavelenght longer than reflector
| 2:24 | Soundwave propagation
| 3:43 | Specular Reflection
| 4:48 | Scattering
| 5:56 | Ultrasound too dark turn down gain then increase power ALARA
| 6:06 | increase power and lateral resolution
| 7:58 | Demoduation receiver fx
| 8:31 | Grating lobes
| 9:08 | Decreased spatial pulse length
| 9:47 | MVA PISA
| 10:45 | Beam Height
| 11:35 | tissue with highest velocity
| 11:47 | low frq transducer
| 12:35 | Doppler Princple
9 | 0:00 | CW determined by
| 0:35 | PW deteremined by
| 1:46 | High Pulse repetition Frq dopller
| 2:32 | Tricuspid annulus
| 2:54 | TR fuctional
| 3:28 | Imaging Tricuspid
| 4:26 | Tricuspid annulus measurement
| 5:03 | Acute MI most sensitive echo finding
| 5:28 | Cleaning probes
| 6:05 | MPI(calc) increased with decreased systolic and diastolic function
| 11:17 | Case HOCM
| 14:32 | M Mode HOCM
| 15:37 | Case TDI MPI calc
| 17:52 | ID structures IAS
10 | 0:00 | ID Structures RA IVC CS Tricuspid
| 4:28 | ID Structures Tricuspid
| 10:28 | Higher frame rate resolution
| 12:15 | ID Structure CS
| 13:39 | PAS-TR peak vlolcity and CVP
| 15:58 | LV Ant wall ID
| 16:42 | M-Mode ID A-L pap muscle Inf wall LV cavity
| 17:45 | M-Mode
| 18:14 | M-Mode fractioanl shortening
11 | 0:00 | Vp E/A Pseudonormal
| 2:10 | doppler shift + and -
| 2:54 | Sinus venous embryolic remnant
| 3:12 | Mitral commisure view
| 4:23 | E wave change in preload
| 4:56 | TDI wave systolic
| 5:32 | PV curve and preload E/A
| 6:24 | PRF and M mode
| 6:55 | ID structures Innominate vein
| 7:58 | Fresnal Zone narrow focal zone
| 8:46 | Case VSD Membranous TOF
| 12:19 | Vp impaired relaxation
| 12:58 | Intertrigone distance
| 13:18 | Transcommisure view
| 13:47 | LVEDP
12 | 0:00 | Transducer resolution
| 0:29 | M-Mode
| 1:00 | RV Chamber quantification
| 1:25 | RVOT measurement
| 1:40 | MV stenosis moderate
| 2:04 | MV stenosis severe
| 2:57 | MV peak gradient
| 3:25 | Aortic regurg severe and MS estimate MVA
| 5:54 | pulse repetition
| 7:10 | Case Aortic Dissection
| 9:18 | Range ambiguity
| 10:13 | change P and change Time
| 10:39 | Case Sinus venous ASD
| 12:52 | Case ID AS Deep TG
| 13:46 | AS
| 14:25 | Case Diastolic function pseudonormal
| 16:35 | Vp color A wave
13 | 0:00 | Alaising | Error 17:10 see comments
| 1:37 | LA dimensions | Increase diameter decreased Reynolds number Low =Laminar High=Turbulent
| 2:17 | Focal Zone | less than 2000 laminar greater than 2000 Turbulent
| 2:49 | Beam Diameter ?
| 3:25 | L atrial thrombus
| 3:55 | MR bileaflet restrictive
| 4:20 | MR moderate
| 4:37 | MR severe
| 5:26 | PISA
| 6:32 | LV fx dp/dt PV S wave
| 8:37 | Tricuspid LAX ME 120 degree
| 9:09 | A wave
| 9:24 | Fractional Area
| 9:49 | Wall corralation
| 10:11 | LAA P1 closest
| 10:33 | VTI LVOT
| 12:39 | MR/AS Doppler differences
| 14:29 | PHT AI
| 16:16 | Holodiastolic flow reversal
| 16:38 | PW Doppler
| 16:52 | increase blood vessel diameter increased Reynold's number
14 | 0:00 | Calc LVOT,Ao annulus,Sinus of Valsalva sinotubal junction
| 5:50 | Aliasing
| 6:25 | MR jet degree MR shape
| 7:59 | Persistent L superior vena cava
| 9:50 | Aliasing decresd with
| 10:30 | RV systole effect S2
| 11:20 | PW vs TDI
| 11:42 | Tenting height MR
| 12:19 | ID structures RA MR CS 3D
| 14:35 | Papillary Fibroelestoma
15 | 0:00 | dp/dt
| 0:30 | LV Aneursym site common inf
| 0:47 | PISA/MR
| 6:17 | TDI med mitral annulus PV loop
| 8:12 | e/e' with low EF
| 8:45 | RV anatomy vs LV
| 9:26 | Pressure vs Vol overload RV displacing IVS
16 | 0:00 | Transition AV canal
| 3:00 | IVCT
| 4:43 | PV curve with vol preload augmentation
| 6:02 | Sinus Venous ASD PW Pul vein
| 10:25 | RV vol overload vs RV pressure overload
| 12:27 | Eccentricity Index
| 13:00 | Vol overload Tricuspid annulus dilates?
| 14:45 | Rv fx Vol overloadcauses P:ressure overload casises Eccenticity Index
| 17:25 | MPI systolic and diastolic function
17 | 0:00 | Refraction
| 2:11 | Snell's law
| 4:23 | Vp 4cm M mode 50cm/s
| 6:26 | Image dropout parallel
| 7:30 | Case SOB after ablation
| 12:00 | Aortic Valve cusps
| 12:50 | Which Aortic Valve cusp
| 13:50 | Tricuspid leaflets
18 | 0:00 | Case CABG persistent L superior Vena Cava
| 4:35 | PA man and diastolic pressure calc | PDF 9 Valvular regurg and stenosis v3
| 5:30 | Aortic Valve M Mode ET | PDF 16 ASD review v17Medits
| 6:00 | CABG/AVR Bicuspid Aortic Valve Coarctation |  | PDF 20 prosthetic valves
| 8:20 | Ascending Aorta diameter Biiuspid |  | PDF 6 TB-cardiomyopathies
| 10:56 | MR 60 degrees
| 13:32 | Pulmonary Vein
| 18:00 | LVEDP/Diastolic dysfx
| 25:15 | EKG LAP PV Velocity graft,Transmitral PW doppler
| 31:56 | Vp Velocity
| 32:50 | Case AI
19 | 0:00 | Calc AS/AI LV pressure
| 3:16 | Change in P High P-LowP =4V2
| 4:40 | Deceleration Time Calc
| 5:36 | Severe MS
| 6:28 | DT
| 7:08 | MVA planimetry
| 8:48 | High Freq vs low freq Transducers
| 9:50 | Ways to decrease aliasing
| 11:10 | Carpentier class type 2 billowing prolasping flail
20 | 0:00 | Perfusion chart
| 4:35 | LV systolic fx wall motion
| 9:25 | CW Doppler ID Deep TG AI vs Mitral inflow
21 | 0:00 | Pressure Recovery
| 11:05 | Peak to Peak vs Peak Instantanous
| 15:15 | Doppler Eq
| 20:49 | MPI
22 | 0:00 | Learning make it stick
| 2:05 | Power Doppler Doppler Eq
| 3:30 | LAD wall
| 3:52 | PW E to A Velocity LA to leaflet tips
| 5:00 | CW Mitral PHT
| 11:23 | LV Anerusym vs pseudo
| 13:30 | LAP calc
| 15:10 | Mech valve click
| 16:02 | ID structures PA pulm valveRV L PA SVC PDA
| 17:10 | Low pass filter wall
| 18:05 | Velocity tissue
| 19:05 | Heart tx RV failure
| 20:47 | V=wavelength x F
| 21:53 | Doppler
| 22:30 | ID LAD CX LMT
| 22:53 | High Pass Wall filter
| 25:15 | TR Pressure calc Tricuspid leaflet
| 27:40 | ID Structures ?
| 28:04 | LV fx wall?
| 30:56 | Myxoma
| 32:23 | Tricuspid leaflets
| 33:38 | Systolic function
| 34:50 | ID structures coronary wall
| 41:40 | ID Aotic cusp 3D
| 43:30 | LVAD
| 45:53 | PHT AI
23 | 0:00 | Doppler Speed and direction power
| 0:51 | wavelenght of 4 Hz V=F x wavelength
| 3:07 | Epicardial SAX LV
| 4:20 | Doppler Eq edel 296 frq change =Vcos2Ft/c
| 5:50 | LMT LAD Cx
| 6:08 | Increasing Velocity tissue
| 6:48 | Case ID Structure TOF /PI
| 16:22 | MR,P2 flail
| 17:38 | Id Structures Mitral
| 21:01 | High pass wall filter
| 24:00 | Mitral Clip Echo
| 27:15 | LVAD RVOT LVOT LVAD
| 28:55 | Relaxation and LAP
| 30:01 | LA max Vol
| 31:04 | Relaxation and LAP
24 | 0:00 | Case Hypoplastic L heart Dx label
| 17:07 | rejection vs High pass wall filter receiver fx
| 21:39 | ID structures Mitral 3D | Mitralclip critereia PDF v6
| 24:22 | Ultrasound source and medium wavelenght
| 26:53 | ID LMT,LAD,CX
| 27:10 | decreased aliasing artifact
| 29:54 | Epicardial structures
| 30:28 | High pass filters doppler
| 32:05 | Heart mate 3 Lvad
| 33:26 | age increase effect increased E/A and decreased e'
| 34:29 | Diastolic fx
| 38:50 | LAP
| 39:44 | TR jet velocity LV filling pressures
25 | 0:00 | UE Ascending Aortic arch SAX | Mitralclip critereia pdf V6
| 1:14 | V=wavelength x F
| 3:12 | Bone Density
| 3:30 | MR mech severity
| 7:30 | TOF
| 12:40 | ID structures RA Mitral clip
| 17:50 | Aneursym vs pseudo
| 20:37 | Velocity
| 21:08 | Type of prosthestic valve lines
| 22:22 | Epicardial label
| 23:45 | PW Mitral
| 25:03 | Mitral Clip Echo
| 31:10 | LVAD flow AI
| 33:58 | LVAD flow AI
26 | 0:00 | High/Low pass wall filter
| 3:10 | Power Doppler/Energy mode Color angio
| 5:39 | TDI
| 6:40 | ID structures 3D echo
| 7:45 | TDI
| 9:10 | Case LAP Ebstein's anomaly
| 15:40 | Case Doppler low pass wall filter
| 17:07 | Doppler Eq
| 18:34 | ID Structures LMT LAD CX
| 18:56 | LAP calc
| 21:46 | Severity of MS
| 22:45 | CW PHT Velocity is 0.71xV
| 27:02 | ID Structures RA
| 28:51 | FAC EF FS order vcf formula nl valvesFS/ET
| 31:46 | LU and LL Pul veins
| 32:24 | last step of receiver
| 34:05 | label RU and RL Pul veins
| 34:58 | Case TDI increaed LAP
| 36:02 | Bubble study how many cycles
| 37:02 | Epicardial probe
| 38:52 | diastolic fx
| 40:40 | LVAD and AI
27 | 0:00 | Image name procedure | PDF 20 prosthetic valves
| 0:27 | Watchman PW doppler of diastolic mitral inflow findings
| 9:53 | Prosthetic valves properties | Coronary artery Perfusion
| 13:56 | Id LMT CX LAD
| 15:10 | 3D Aortic /Mitral
| 15:36 | CW Aortic Valve High wall filter
| 19:01 | Velocity tissue
| 19:27 | Low pass wall filter
| 20:05 | Doppler Ultrasound Doppler EQ
| 21:50 | V=wavelength x F
| 23:40 | Epicardial ID structures
| 25:10 | Occ of vessel LMT Cx LAD
| 26:03 | V=wavelength x F
| 28:04 | VSD perimembranous vs subpulmonic
| 30:10 | Impaired Relaxation/Afib
| 31:51 | Tumors most common benign etc
| 39:30 | Ebstein's Anomaly WPW Secundum ASD ant sai leaflet
28 | 0:00 | VSD Sinus of Valsalva aneursym rupture
| 5:10 | RVSP vs VSD
| 9:19 | Gerbode defect Gradient flow/Flow TR jet,VSD,ASD,MR,AI,PDA
| 16:35 | Avalon Catheter VV ecmo
| 24:00 | Something wrong Sinus of valsalva aneursym
29 | 0:00 | Case HOCM,genetics,CW doppler dagger,Post wall Inf lateral spared
| 11:23 | Case impella shallow
| 20:45 | Case post MVR/TVR inverted LAA
30 | 0:00 | Match lesion VSD
| 7:45 | Noncompaction vs compation
| 13:17 | Temporal Resolution Mode frame rate
| 15:05 | dp/dt for RV
| 19:11 | MPI for RV blood flow tissue greater than .4 Abd CW greater than .55 TDI
| 24:54 | resonant Freq formulas
| 27:56 | VSD
| 30:56 | PRF Nyquist limit max doppler shift PRF=2NL NL=1/2 PRF
31 | 0:00 | Pressure Gradient peak to peak cath peak instantous TEE
| 5:26 | Impella depth
| 7:00 | Medium Density stiffnes
| 13:40 | Case HOCM
| 20:09 | Congenital matching
| 28:05 | Case Pul valve gradient
| 30:38 | Case RVH TOF VSD
| 34:19 | Impella
| 35:54 | Match CHD TOF most common cause of cyanosis
32 | 0:00 | Thanks
| 2:08 | Coronary perfusion
| 2:41 | Blood vessel artifact what is perfused artifacts
| 7:09 | CHD match | Transposition pdf d-tga l-tga v5
| 19:00 | ID wire RUPV
| 20:49 | 3 D Mitral
| 22:14 | Case HOCM Intertrigone distance size, annuoplasty ring
| 22:15 | SAM
| 30:09 | VSD Sinus of valsalva fistula
| 37:00 | VSD repair
33 | 0:00 | Diastolic fx | diastolic fx guidelines update
| 3:30 | Physics matching
| 9:55 | Dynamic Range compression
| 19:12 | Resolution axial lateral elevational best to worse
| 21:30 | Prostetic valves matching
| 23:43 | Middle Cardiac vein
| 24:50 | PISA
| 29:09 | Diastolic fx
| 30:42 | Coronary perfusion
| 34:45 | Cardiac Tamponade
34 | 0:00 | Valve Path Match,Pericardial disease Formulas Syndrome matchingOblique and Transverse sinus
| 17:35 | Ecmo case AS Transapical TAVR
| 24:10 | Lariat case view 25 Septal puncture 90-100degree Inf /Sup Watchman
| 27:25 | IAS puncture chart
| 28:13 | PISA
| 30:00 | AR diastolic MR severe MR
| 31:05 | RVSP,PASP calcRAP+TR Vmax RAP +PG
| 32:24 | wavelenght 9 mHz probe units!!
35 | 0:00 | U/S time to travel back and forth | Pressure Recovery aortic valve stenosis.001.jpeg001
| 1:42 | Epicardial echo MV/AV | Preessure Recovery Questions
| 7:02 | Diastolic fx | watchman card LAA devise v2
| 9:27 | TAVR, Dimension index
| 14:28 | Watchman
| 15:41 | Diastolic fx
| 16:38 | Pulmonic Valve PAMP PADP
| 19:38 | RVSP with TR jet + RAP PASP=RVSP-PV gradient
| 23:12 | Watchman
| 28:12 | Pressure Recovery
36 | 0:00 | Diastolic fx Pulmonary vein ID |  | Watchman card LAA device v2
| 1:41 | TVR Bio
| 3:25 | MR Carpentier class
| 15:10 | Watchman
| 25:05 | UE ID Structures Aorta RU pul vein R PA SVC
| 28:05 | Watchman
37 | 0:00 | Pressure Recovery | Pressure recovery cos theta peak to peak vs instantaneous .007
| 1:57 | Doppler Eq | Pressure recovery cos theta peak to peak vs instantaneous .006
| 4:00 | Pressure Recovery | pressure recoverypeak to peak and cos theta
| 11:00 | TR in coronary Sinus | Pressure recovery cos theta peak to peak vs instantaneous .003
| 16:09 | Hepatic vein TR
| 17:39 | Epiaortic vein ID Structres aorta SVC R PA
| 19:52 | ID Structures Aorta, RUPV, RPA,SVC
| 21:54 | Post bypass views Wall perfusion
| 25:02 | Backing Material questions
| 26:39 | Backing Material Damping material
38 | 0:00 | COVID Kawasaki
| 1:47 | Mitral Stenosis Rheumatic small L to R shunt ASD Lutenbacher syndrome
| 13:10 | angle between blood flow and bean alignment calc cosign at 10,20,30,60% doppler
| 17:00 | ID Structure RA
| 21:43 | AR classification VSD
| 26:30 | L atrial myxoma Caney complex NAME LAMB
| 34:40 | less than 15 Rhabdomyomas
| 36:30 | Reflection Acoutic Impendance
| 37:10 | Bicuspid aortic Valve /Aorta more common in men
| 47:08 | Shone Complex
| 50:54 | Calc LAP MV EROA MV RVol
| 55:42 | MV inflow diastolic fx
| 57:45 | Middle Cardiac vein CS
| 58:48 | CHD matching
| 1:02 | Calc LVEDP
| 1:05 | Calc LAP with ASD/PFO
39 | 0:00 | CW vs PW Backing material Damping mat QF Bandwith Ped Off CW only sensitivyt to returning QF =RF/BW
| 10:23 | most common cause of primary MR
| 13:04 | Calc Wavelength =V/F
| 15:43 | Diastolic fx
| 16:40 | PISA MR Calc MR EROA
| 20:10 | TOF Alagille syndrome MR RVOL
| 29:50 | Severe primary MR |  | PDF 9 Valvular regurg and stenosis v3
40 | 0:00 | LA vs RA Isomeism Situs Inverus |  | diastolic fx guideline update
| 3:56 | AR classification |  | PDF 9 Valvular regurg and stenosis v4
| 6:39 | primary vs secondary TR more Common secondary fx |  | diastolic fx figure
| 7:00 | primary TR most myxomtous ?? |  | Carpentier Mitral leaflet motion MR .011
| 8:39 | doppler Transmitral profile |  | SAM predictors HOCM systolic ant motion .001
| 11:33 | Case LVAD
| 19:30 | Pulmonary veinl profile MR MS CHB
| 22:39 | Case Miral flail SAM Carpentier class
| 36:50 | Improve Temporal Resolution
41 | 0:00 | Snell's law |  | Movie 346 PISA MV area and MV stroke Vol still 2.v3
| 6:18 | Matching layer PZT crystal wavelength |  | Movie 346 PISA MV area and MV stroke Vol still 5
| 7:27 | ID Pleural effusion |  | Refraction Snell's law .001
| 11:50 | Calc Peak gradient across aortic and pulmonic valves |  | Refraction Snell's law .002
| 16:20 | Color Map Variance
| 20:40 | Case HOCM Air after CPB
| 27:50 | VSD Matching Inlet VSD
| 29:51 | MVA PISA
| 39:51 | Diastolic fx
42 | 0:00 | Case VSD | SAM predictors HOCM systolic ant motion .001
| 10:53 | Physics matching transducers Doppler
| 15:38 | MR ? SAM parameteres Carpentiers classifaction
| 31:33 | Backing material
| 35:18 | Aortic Regurg Class
| 37:05 | VSD
| 39:09 | Case Mitral ecmo LA thrombus
| 42:51 | RVSP Calc with TR
| 47:11 | Calc Pulmonary artery mean pressure
| 50:26 | Calc dp/dt review adv systolic)
43 | 0:00 | Case TR TS prosthetic valve RVSP AAS
| 10:00 | RV perf Rv dp/dt RV MPI
| 12:10 | Case long axis AV Impella 5.5 5cm
| 24:02 | PW doppler transmitral inflow
| 26:10 | LV wall perfusion LV SAX long axis AV ant ID
| 32:05 | Calc MVA
| 35:19 | Case Mitral clip SAM MV area